ANNEX IV: BUDGET BREAKDOWN (Model financial offer) - LOT 1

Contract title: Supply of IT and data-centre equipment for the NINET data centre in Niš

Publication reference: BGRS0500152-TD01-PP2

This form covers Lot 1 only. A separate financial offer form is provided for each lot; complete only the lot(s) you are bidding for. Award is made per lot to the lowest-priced technically compliant tender.

Nota bene: Prices shall be quoted in EUR, on a DDP (Delivered Duty Paid) basis to the NINET data centre, Bulevar Nemanjića 25, TC Zona 3 lok. K6, 18000 Niš, Serbia, VAT excluded. VAT, if applicable, shall be indicated separately. Prices are fixed and not subject to revision.

Name of tenderer: ______________________________

| Item No. | Description | Qty | Unit price EUR (DDP, VAT excl.) | Total price EUR (VAT excl.) |
| --- | --- | --- | --- | --- |
| LOT 1 - Racks and UPS equipment |  |  |  |  |
| 1 | UPS 20 kVA, 400 V, 3:1 (online double-conversion) with Parallel Operation Kit, battery strings, communications, and Rack ATS (230 V AC, 10 A, dual input, door + smoke sensor) | 2 |  |  |
| 2 | Network management card | 2 |  |  |
| 3 | Rack cabinet, 42U (min. depth 1100 mm), perforated doors, cable mgmt, adjustable rails | 3 |  |  |
| 4 | PDU, metered (IEC C13/C19, 16–32 A, digital current meter) | 3 |  |  |
| 5 | Environmental monitor (main) | 3 |  |  |
| 6 | Temperature & humidity sensors | 2 |  |  |
| 7 | Delivery, electrical and cabling works, installation, user training and commissioning at NINET DC (>= 2 days). LUMP SUM: all works required to supply the UPS and the 3 racks from the existing distribution panel, complete, tested and operational. Site visit 7 August 2026. | 1 (lump sum) |  |  |
| Total for LOT 1 (EUR, VAT excluded): |  |  |  |  |

The tenderer must complete the unit and total prices, sign and date this form.

Name and signature of authorised representative: ______________________________ Date: __________